## Planning Architecture
Planning and Architecture | Reference | Response | Comments | Complete
What is the scope of the AI app? Global/Corporate? Local/site? Individual? Group?
What is the intended use? Is it reusable for other purposes? Multipurpose? | 814.20 (b)(3)(i)
Is it a self contained device with AI application or an operational supporting system? Is it health related or operations support?
Does it trigger an autonomous action/decision or just provide information for human analysis? What is the level of Independence?
Does the AI Application manage patient personally identifiable information (PII)?
Are boundaries for autonomous learning defined?
Is there a redundancy plan?
Is the AI Application capable to self diagnose preemptively? e.g. degradation over time before it breaks/stops working
Is there an AI Auditing Framework / Governance / Ethics established?
Is the AI locked algorithm or continuously learning algorithm?
What are computer system hardware specifications? Processor (manufacturer, speed, and features), RAM (memory size), hard disk size, other storage, communication, display interface, sensors, energy sources, safety features, etc. | FDA Guidance, Off-The-Shelf Software Use in Medical Devices https://www.fda.gov/downloads/medicaldevices/deviceregulationandguidance/guidancedocuments/ucm073779.pdf and FDA Guidance for the Content of Premarket Submissions for Software contained in Medical Devices - fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm089593.pdf
What are computer system software specifications? Include name, specific version level, and complete list of patches as warranted. | FDA Guidance, Off-The-Shelf Software Use in Medical Devices https://www.fda.gov/downloads/medicaldevices/deviceregulationandguidance/guidancedocuments/ucm073779.pdf
Assistive AI or direct decision?
Provide an architecture design chart depending on Level of Concern | FDA Guidance for the Content of Premarket Submissions for Software contained in Medical Devices - fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm089593.pdf
What is the validation strategy?
What verification activities are planned?
What electronic interfaces are needed? Printer, monitor, keyboard, mouse. | FDA Guidance for the Content of Premarket Submissions for Software contained in Medical Devices - fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm089593.pdf
What type of human interface is present?
How to assure appropriate actions are taken by end user? | FDA Guidance, Off-The-Shelf Software Use in Medical Devices - fda.gov/downloads/medicaldevices/deviceregulationandguidance/guidancedocuments/ucm073779.pdf
Does AI interface with another medical/non-medical product, system, or device?
Is there a mobile app associated? | FDA Digital Health Criteria - fda.gov/medicaldevices/digitalhealth/ucm575766.htm
Does the AI use wireless communication of any form? | FDA Digital Health Criteria - fda.gov/medicaldevices/digitalhealth/ucm575766.htm
What security measures are in place?
How is access limited? | FDA Digital Health Criteria - fda.gov/medicaldevices/digitalhealth/ucm575766.htm
Are timers used to terminate sessions? | FDA Digital Health Criteria - fda.gov/medicaldevices/digitalhealth/ucm575766.htm
How is information transferred? | FDA Digital Health Criteria - fda.gov/medicaldevices/digitalhealth/ucm575766.htm
Is information exchanged between medical or nonmedical devices/systems? | FDA Digital Health Criteria - fda.gov/medicaldevices/digitalhealth/ucm575766.htm
Is data converted to different formats? | FDA Digital Health Criteria - fda.gov/medicaldevices/digitalhealth/ucm575766.htm
Can the system be overridden thru human intervention?
Does the AI automatically perform checks of itself?
Are there check points where QA verifies a result or end point before proceeding?
Is there a kill switch? | Lessons learned from Shynet, The Terminator
How is change control handled?
Is there an audit trail?
How is traceability to the final answer maintained?
How can you assure data integrity?
What happens when AI receives new data?
What happens when AI receives conflicting data?
Have device failures been investigated and exlained?
Is the risk/benefit analysis complete?
How is memory stored? Is it secure? How secured? Please consider servers, operating systems, networks, software, applications, services, and storage equipment. | FDA Digital Health Criteria - fda.gov/medicaldevices/digitalhealth/ucm575766.htm
What is the stability of the underlying machine (hardware, operating system, data management)?
What is the expected volume and quality of input data?
What controls are in place?
What degree of agreement is acceptable?
Are there design standards for internal error checking? Are they followed?
Are there provisions for protection against empty data sets?
Are there design standards for synchronization of concurrent processes?
What are the requirements for an error message?
Are there requirements for diagnostic and debugging aids?
Are there provisions for backup and recovery capabilities?
Have providions been validated by Failure Modes and Effects Analysis (hardware outage, loss of data, program deadlock, etc.)?
Does this include novel digital health technology such as virtual reality, gaming, or medical body area network wearable or implanted wireless devices? | FDA Digital Health Criteria - fda.gov/medicaldevices/digitalhealth/ucm575766.htm

## Regulatory
Regulatory Application Questions | Reference | Response | Comments | Complete
Provide device description, overall summary of functions, and summary of technical characteristics. | FDA Guidance for the Submission of Premarket Notifications for Medical Image Management Devices - fda.gov/medicaldevices/deviceregulationandguidance/guidancedocuments/ucm073720.htm
Describe the design of the device and how the design was implemented. | FDA Guidance for the Content of Premarket Submissions for Software contained in Medical Devices - fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm089593.pdf
Provide a diagram of the layout and interconnections. Any interfaces are to be labeled. Interconnections which transmit compressed data should be labeled along with compression ratios. | FDA Guidance for the Submission of Premarket Notifications for Medical Image Management Devices fda.gov/medicaldevices/deviceregulationandguidance/guidancedocuments/ucm073720.htm
Provide a description of software test procedures | FDA Guidance for the Content of Premarket Submissions for Software contained in Medical Devices - fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm089593.pdf
Provide traceability to link together design, implementation, testing, and risk management | FDA Guidance for the Content of Premarket Submissions for Software contained in Medical Devices - fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm089593.pdf
What demographic does this serve? Does the patient/study population match the intended use? | FDA Guidance Acceptance and Filing Reviews for Premarket Approval Applications (PMAs) - fda.gov/downloads/medicaldevices/deviceregulationandguidance/guidancedocuments/ucm313368.pdf
Is the product a combination product or used with a PMA or 510(k) device? | FDA Guidance Acceptance and Filing Reviews for Premarket Approval Applications (PMAs) - fda.gov/downloads/medicaldevices/deviceregulationandguidance/guidancedocuments/ucm313368.pdf
Is the applicant the subject of the Application Integrity Policy? | Application Integrity Policy List - fda.gov/ICECI/EnforcementActions/ApplicationIntegrityPolicy/ucm134453.htm
Was the nonclinical and clinical data collected on the final design of the device? | FDA Guidance Acceptance and Filing Reviews for Premarket Approval Applications (PMAs) - fda.gov/downloads/medicaldevices/deviceregulationandguidance/guidancedocuments/ucm313368.pdf
Provide results of nonclinical lab studies including stress, wear, shelf life, and other lab or animal testing. | 21 CFR 814(b)(6)(i)
Provide results of clinical investigations involving human subjects | 21 CFR 814.20(b)(6)(ii)
Is a complete description of the device included? Detailed design. | 21 CFR 814.20
Is a description of the principles of operation of the device and relevant properties included? | 21 CFR 814.20
Are final versions of protocols present? | 21 CFR 814.20
Has appropriate labeling been drafted? | 21 CFR 814.20, 21 CFR 801
Are contraindications, warnings, and precautions defined?
Has the applicant submitted either a signed and dated Certification Form 3454 or a signed and dated disclosure form 3455? | FDA Guidance Financial Disclosure by Clinical Investigators - fda.gov/downloads/regulatoryinformation/guidances/ucm341008.pdf and 21 CFR 54
Were conclusions from the studies drawn for risk/benefit analysis, safety, effectiveness?
What system is in place to detect and report problems?
What are the reported problems (bug list) and how are they relevant to the application? CAPA. | FDA Guidance for the Content of Premarket Submissions for Software contained in Medical Devices - fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm089593.pdf
Include any information related to actual or potential adverse events.
Do results of design validation raise new issues of safety and effectiveness?
Has an environmental assessment been conducted? | 21 CFR 25.20 (n)((d)(i) or (ii)
What is the role of information presented in clinical decision making?

## Lifecycle
Lifecycle | Reference | Response | Comments | Complete
How do changes over time affect how clinicians use/interpret output?
After time has the machine learning allowed the system to be overridden thru human intervention?
How is the AI retired?
Is there a dupicate/back-up system? Do the two systems correlate?
How will verification acceptance criteria be established?
Provide a software development life cycle plan | FDA Guidance for the Content of Premarket Submissions for Software contained in Medical Devices - fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm089593.pdf